## Slide 1: Project Overview
Title: Power Monitoring with ADL200
Purpose: Reads and displays power metrics (voltage, current, frequency)
Platform: ATmega328PB microcontroller (16 MHz, like Arduino Nano)
Program: Written in Great Cow BASIC (GCBASIC)

## Slide 2: Hardware Components
ADL200 Energy Meter: Tracks power metrics
ILI9488 GLCD: Colorful display for data
ATmega328PB: Core microcontroller for processing

## Slide 3: Data Display
Output: Metrics shown on GLCD
Format: Two decimal places (e.g., 235.20 V, 50.10 Hz)
Real-Time: Continuous monitoring dashboard

## Slide 4: Communication
Protocol: Modbus RTU over serial
Data Handling: Ring buffer for incoming data
Processing: State machine for efficient data management

## Slide 5: Debugging
Feature: Software serial for debug output
Benefit: Simplifies troubleshooting and development

## Slide 6: Key Files
Scripts: 040_mega328pb_ADL200.gcb (main), 010_mega328pb_hardwareserial.gcb, 020_mega328pb_hardwareGLCD.gcb, 030_mega328p_ModBusProtocol.gcb
Headers: ADL200.h, MODBus.h
Docs: Setup guide, adding new values

## Slide 7: Getting Started
Steps: Install GCBASIC compiler, connect ADL200 and GLCD, upload 040_mega328pb_ADL200.gcb
Guide: See 2. Getting_started.md

## Slide 8: Extending the Project
Add Values: Modify 040_mega328pb_ADL200.gcb
Guide: 3. Howto_add_new_value_040_mega328pb_ADL200.adoc
Features: Add new metrics, update Modbus mappings, adjust GLCD

## Slide 9: Summary
Outcome: Real-time energy monitoring dashboard
Key Features: Modbus RTU, GLCD display, debug support
Next Steps: Set up hardware, compile code, monitor power!